## Roof
| Roof and wall facade data from Pvsol and Matlab | [13 empty] | v/i
module number | module centre position x | module centre position y | Shading frequency on cell of year (1st round data) | Obstruction factor for position | Shading frequency on module per year | Average irradiance (with shading frequency impact) on (double)cell per year | Average irradiance (with shading frequency impact) on module per year W/m^2;[ Irradiance after shading per module (train data)] |  | per cell MPP mW power (multiply by the number of seconds in a year) | per module MPP power mW (multiply by the number of seconds in a year) | per module MPP power in Watts |  | per cell MPP mV voltage V | per cell mA MPP current A | R ohm (optimum resistance for the cell, considering shading and its effect on the irradince of the cell, to reach MPP power) | Series module resistance ohm with then the parallel |  |  |  | per module MPP energy for year in kWh (train) |  | Irradiance after shading per module (set1 test data) | Irradiance after shading per module (set2 test data) | Energy generation (set1 test data) | Energy generation per module (set2 test data)
1 | 1.212 | 6.08 | 25.3 | 0 | 84.3 | 120 | 960 | 8 | 0.1896 | 1.5168 | 15.168 | 10 | 0.446 | 0.4251 | 1.0492 | 0.52458 | 0.26229 | 1.2059 | 0.5 | 55.3632 | 10 | 480 | 2400 | 27.6816 | 138.408
2 | 1.212 | 5.32 | 15 | 0 | 50 | 210 | 1680 |  | 0.3426 | 2.7408 | 27.408 |  | 0.46 | 0.7447 | 0.6177 | 0.30885 | 0.15442 | 0.77444 | 0.15674 | 100.0392 | 0.001 | 840 | 3840 | 50.0196 | 227.76
3 | 1.212 | 4.56 | 6.1 | 0 | 20.3 | 244 | 1952 |  | 0.4019 | 3.2152 | 32.152 |  | 0.46 | 0.8737 | 0.5265 | 0.26325 | 0.13162 | 0.68324 |  | 117.3548 | 0.01 | 976 | 4384 | 58.6774 | 262.3912
4 | 1.212 | 3.8 | 4.4 | 0 | 14.7 | 252 | 2016 |  | 0.4159 | 3.3272 | 33.272 |  | 0.46 | 0.9041 | 0.50879 | 0.2544 | 0.1272 | 0.66553 |  | 121.4428 | 3.65 | 1008 | 4512 | 60.7214 | 270.5672
5 | 1.212 | 3.04 | 7.4 | 0 | 24.7 | 232 | 1856 |  | 0.4159 | 3.3272 | 33.272 |  | 0.46 | 0.9041 | 0.50879 | 0.2544 | 0.1272 | 0.66553 |  | 121.4428 |  | 928 | 4192 | 60.7214 | 270.5672
6 | 1.212 | 2.28 | 7.4 | 85 | 24.7 | 232 | 1856 |  | 0.4159 | 3.3272 | 33.272 |  | 0.46 | 0.9041 | 0.50879 | 0.2544 | 0.1272 | 0.66553 |  | 121.4428 |  | 928 | 4192 | 60.7214 | 270.5672
7 | 1.212 | 1.52 | 4 | 85 | 13.3 | 258 | 2064 |  | 0.4264 | 3.4112 | 34.112 |  | 0.46 | 0.9269 | 0.49628 | 0.24814 | 0.12407 | 0.65302 |  | 124.5088 |  | 1032 | 4608 | 62.2544 | 276.6992
8 | 1.212 | 0.76 | 3.9 | 85 | 13 | 258.4 | 2067.2 |  | 0.4271 | 3.4168 | 34.168 |  | 0.46 | 0.9284 | 0.49548 | 0.24774 | 0.12387 | 0.65222 |  | 124.7132 |  | 1033.6 | 4614.4 | 62.3566 | 277.108
9 | 2.424 | 6.08 | 4.8 | 0 | 16 | 248.8 | 1990.4 |  | 0.4103 | 3.2824 | 32.824 |  | 0.46 | 0.892 | 0.5157 | 0.25785 | 0.12892 | 0.67244 |  | 119.8076 |  | 995.2 | 4460.8 | 59.9038 | 267.2968
10 | 2.424 | 5.32 | 4.4 | 0 | 14.7 | 252 | 2016 |  | 0.4159 | 3.3272 | 33.272 |  | 0.46 | 0.9041 | 0.50879 | 0.2544 | 0.1272 | 0.66553 |  | 121.4428 |  | 1008 | 4512 | 60.7214 | 270.5672
11 | 2.424 | 4.56 | 3.6 | 0 | 12 | 260 | 2080 |  | 0.4299 | 3.4392 | 34.392 |  | 0.46 | 0.9345 | 0.49224 | 0.24612 | 0.12306 | 0.64898 |  | 125.5308 |  | 1040 | 4640 | 62.7654 | 278.7432
12 | 2.424 | 3.8 | 2.4 | 0 | 8 | 269 | 2152 |  | 0.4456 | 3.5648 | 35.648 |  | 0.46 | 0.9686 | 0.47491 | 0.23746 | 0.11873 | 0.63165 |  | 130.1152 |  | 1076 | 4784 | 65.0576 | 287.912
13 | 2.424 | 3.04 | 1.1 | 0 | 3.7 | 294.2 | 2353.6 |  | 0.4896 | 3.9168 | 39.168 |  | 0.46 | 1.0643 | 0.43221 | 0.2161 | 0.10805 | 0.58895 |  | 142.9632 |  | 1176.8 | 5187.2 | 71.4816 | 313.608
14 | 2.424 | 2.28 | 0.6 | 85 | 2 | 297 | 2376 |  | 0.4945 | 3.956 | 39.56 |  | 0.46 | 1.0749 | 0.42795 | 0.21397 | 0.10699 | 0.58469 |  | 144.394 |  | 1188 | 5232 | 72.197 | 316.4696
15 | 2.424 | 1.52 | 0.5 | 85 | 1.7 | 298.3 | 2386.4 |  | 0.4967 | 3.9736 | 39.736 |  | 0.46 | 1.0798 | 0.426 | 0.213 | 0.1065 | 0.58274 |  | 145.0364 |  | 1193.2 | 5252.8 | 72.5182 | 317.7544
16 | 2.424 | 0.76 | 0.5 | 85 | 1.7 | 298.3 | 2386.4 |  | 0.4967 | 3.9736 | 39.736 |  | 0.46 | 1.0798 | 0.426 | 0.213 | 0.1065 | 0.58274 |  | 145.0364 |  | 1193.2 | 5252.8 | 72.5182 | 317.7544
17 | 3.636 | 6.08 | 1.6 | 0 | 5.3 | 291.6 | 2332.8 |  | 0.485 | 3.88 | 38.8 |  | 0.46 | 1.0544 | 0.43627 | 0.21813 | 0.10907 | 0.59301 |  | 141.62 |  | 1166.4 | 5145.6 | 70.81 | 310.9216
18 | 3.636 | 5.32 | 1.1 | 0 | 3.7 | 294.2 | 2353.6 |  | 0.4896 | 3.9168 | 39.168 |  | 0.46 | 1.0643 | 0.43221 | 0.2161 | 0.10805 | 0.58895 |  | 142.9632 |  | 1176.8 | 5187.2 | 71.4816 | 313.608
19 | 3.636 | 4.56 | 1.1 | 0 | 3.7 | 294.2 | 2353.6 |  | 0.4896 | 3.9168 | 39.168 |  | 0.46 | 1.0643 | 0.43221 | 0.2161 | 0.10805 | 0.58895 |  | 142.9632 |  | 1176.8 | 5187.2 | 71.4816 | 313.608
20 | 3.636 | 3.8 | 1.2 | 0 | 4 | 293 | 2344 |  | 0.4875 | 3.9 | 39 |  | 0.46 | 1.0597 | 0.43409 | 0.21704 | 0.10852 | 0.59083 |  | 142.35 |  | 1172 | 5168 | 71.175 | 312.3816
21 | 3.636 | 3.04 | 1.2 | 0 | 4 | 293 | 2344 |  | 0.4875 | 3.9 | 39 |  | 0.46 | 1.0597 | 0.43409 | 0.21704 | 0.10852 | 0.59083 |  | 142.35 |  | 1172 | 5168 | 71.175 | 312.3816
22 | 3.636 | 2.28 | 0.9 | 0 | 3 | 295.5 | 2364 |  | 0.4918 | 3.9344 | 39.344 |  | 0.46 | 1.0692 | 0.43023 | 0.21511 | 0.10756 | 0.58697 |  | 143.6056 |  | 1182 | 5208 | 71.8028 | 314.8928
23 | 3.636 | 1.52 | 0.6 | 0 | 2 | 297 | 2376 |  | 0.4945 | 3.956 | 39.56 |  | 0.46 | 1.0749 | 0.42795 | 0.21397 | 0.10699 | 0.58469 |  | 144.394 |  | 1188 | 5232 | 72.197 | 316.4696
24 | 3.636 | 0.76 | 0.3 | 0 | 1 | 300 | 2400 |  | 0.4997 | 3.9976 | 39.976 |  | 0.46 | 1.0863 | 0.42346 | 0.21173 | 0.10586 | 0.5802 |  | 145.9124 |  | 1200 | 5280 | 72.9562 | 319.5064
25 | 4.848 | 6.08 | 6.5 | 0 | 21.7 | 238.9 | 1911.2 |  | 0.393 | 3.144 | 31.44 |  | 0.46 | 0.8544 | 0.53839 | 0.26919 | 0.1346 | 0.69513 |  | 114.756 |  | 955.6 | 4302.4 | 57.378 | 257.1936
26 | 4.848 | 5.32 | 2.4 | 0 | 8 | 269 | 2152 |  | 0.4456 | 3.5648 | 35.648 |  | 0.46 | 0.9686 | 0.47491 | 0.23746 | 0.11873 | 0.63165 |  | 130.1152 |  | 1076 | 4784 | 65.0576 | 287.912
27 | 4.848 | 4.56 | 1.9 | 0 | 6.3 | 275 | 2200 |  | 0.456 | 3.648 | 36.48 |  | 0.46 | 0.9914 | 0.46399 | 0.232 | 0.116 | 0.62073 |  | 133.152 |  | 1100 | 4880 | 66.576 | 293.9856
28 | 4.848 | 3.8 | 1.9 | 0 | 6.3 | 275 | 2200 |  | 0.456 | 3.648 | 36.48 |  | 0.46 | 0.9914 | 0.46399 | 0.232 | 0.116 | 0.62073 |  | 133.152 |  | 1100 | 4880 | 66.576 | 293.9856
29 | 4.848 | 3.04 | 1.9 | 0 | 6.3 | 275 | 2200 |  | 0.456 | 3.648 | 36.48 |  | 0.46 | 0.9914 | 0.46399 | 0.232 | 0.116 | 0.62073 |  | 133.152 |  | 1100 | 4880 | 66.576 | 293.9856
30 | 4.848 | 2.28 | 1.9 | 80 | 6.3 | 275 | 2200 |  | 0.456 | 3.648 | 36.48 |  | 0.46 | 0.9914 | 0.46399 | 0.232 | 0.116 | 0.62073 |  | 133.152 |  | 1100 | 4880 | 66.576 | 293.9856
31 | 4.848 | 1.52 | 2 | 80 | 6.7 | 276.5 | 2212 |  | 0.4587 | 3.6696 | 36.696 |  | 0.46 | 0.9971 | 0.46134 | 0.23067 | 0.11533 | 0.61808 |  | 133.9404 |  | 1106 | 4904 | 66.9702 | 295.5624
32 | 4.848 | 0.76 | 1.9 | 80 | 6.3 | 275 | 2200 |  | 0.456 | 3.648 | 36.48 |  | 0.46 | 0.9914 | 0.46399 | 0.232 | 0.116 | 0.62073 |  | 133.152 |  | 1100 | 4880 | 66.576 | 293.9856
33 | 1.212 | -0.76 |  | 80 | 7.4 | 235 | 1880 |  | 0.3862 | 3.0896 | 30.896 |  | 0.46 | 0.8396 | 0.54788 | 0.27394 | 0.13697 | 0.70462 |  | 112.7704 |  | 940 | 4240 | 56.3852 | 253.2224
34 | 1.212 | -1.52 |  | 0 | 7.4 | 235 | 1880 |  | 0.3862 | 3.0896 | 30.896 |  | 0.46 | 0.8396 | 0.54788 | 0.27394 | 0.13697 | 0.70462 |  | 112.7704 |  | 940 | 4240 | 56.3852 | 253.2224
35 | 1.212 | -2.28 |  | 0 | 1 | 275 | 2200 |  | 0.456 | 3.648 | 36.48 |  | 0.46 | 0.9914 | 0.46399 | 0.232 | 0.116 | 0.62073 |  | 133.152 |  | 1100 | 4880 | 66.576 | 293.9856
36 | 1.212 | -5.32 |  | 0 | 1 | 275 | 2200 |  | 0.456 | 3.648 | 36.48 |  | 0.46 | 0.9914 | 0.46399 | 0.232 | 0.116 | 0.62073 |  | 133.152 |  | 1100 | 4880 | 66.576 | 293.9856
37 | 1.212 | -6.08 |  | 0 | 7 | 237.5 | 1900 |  | 0.3906 | 3.1248 | 31.248 |  | 0.46 | 0.8491 | 0.54175 | 0.27088 | 0.13544 | 0.69849 |  | 114.0552 |  | 950 | 4280 | 57.0276 | 255.792
38 | 2.424 | -0.76 |  | 50 | 4.3 | 243.75 | 1950 |  | 0.4015 | 3.212 | 32.12 |  | 0.46 | 0.8728 | 0.52704 | 0.26352 | 0.13176 | 0.68378 |  | 117.238 |  | 975 | 4380 | 58.619 | 262.1576
39 | 2.424 | -1.52 |  | 50 | 4.3 | 243.75 | 1950 |  | 0.4015 | 3.212 | 32.12 |  | 0.46 | 0.8728 | 0.52704 | 0.26352 | 0.13176 | 0.68378 |  | 117.238 |  | 975 | 4380 | 58.619 | 262.1576
40 | 2.424 | -2.28 |  | 0 | 1 | 275 | 2200 |  | 0.456 | 3.648 | 36.48 |  | 0.46 | 0.9914 | 0.46399 | 0.232 | 0.116 | 0.62073 |  | 133.152 |  | 1100 | 4880 | 66.576 | 293.9856
41 | 2.424 | -5.32 |  | 0 | 1 | 275 | 2200 |  | 0.456 | 3.648 | 36.48 |  | 0.46 | 0.9914 | 0.46399 | 0.232 | 0.116 | 0.62073 |  | 133.152 |  | 1100 | 4880 | 66.576 | 293.9856
42 | 2.424 | -6.08 |  | 80 | 7 | 237.5 | 1900 |  | 0.3906 | 3.1248 | 31.248 |  | 0.46 | 0.8491 | 0.54175 | 0.27088 | 0.13544 | 0.69849 |  | 114.0552 |  | 950 | 4280 | 57.0276 | 255.792
43 | 3.636 | -0.76 |  | 80 | 3.3 | 250 | 2000 |  | 0.4124 | 3.2992 | 32.992 |  | 0.46 | 0.8965 | 0.51311 | 0.25655 | 0.12828 | 0.66985 |  | 120.4208 |  | 1000 | 4480 | 60.2104 | 268.5232
44 | 3.636 | -1.52 |  | 80 | 3.3 | 250 | 2000 |  | 0.4124 | 3.2992 | 32.992 |  | 0.46 | 0.8965 | 0.51311 | 0.25655 | 0.12828 | 0.66985 |  | 120.4208 |  | 1000 | 4480 | 60.2104 | 268.5232
45 | 3.636 | -2.28 |  | 0 | 1 | 275 | 2200 |  | 0.456 | 3.648 | 36.48 |  | 0.46 | 0.9914 | 0.46399 | 0.232 | 0.116 | 0.62073 |  | 133.152 |  | 1100 | 4880 | 66.576 | 293.9856
46 | 3.636 | -5.32 |  | 0 | 1 | 275 | 2200 |  | 0.456 | 3.648 | 36.48 |  | 0.46 | 0.9914 | 0.46399 | 0.232 | 0.116 | 0.62073 |  | 133.152 |  | 1100 | 4880 | 66.576 | 293.9856
47 | 3.636 | -6.08 |  | 0 | 7 | 237.5 | 1900 |  | 0.3906 | 3.1248 | 31.248 |  | 0.46 | 0.8491 | 0.54175 | 0.27088 | 0.13544 | 0.69849 |  | 114.0552 |  | 950 | 4280 | 57.0276 | 255.792
48 | 4.848 | -0.76 |  | 0 | 2.8 | 252.5 | 2020 |  | 0.4168 | 3.3344 | 33.344 |  | 0.46 | 0.906 | 0.50773 | 0.25386 | 0.12693 | 0.66447 |  | 121.7056 |  | 1010 | 4520 | 60.8528 | 271.0928
49 | 4.848 | -1.52 |  | 0 | 2.8 | 252.5 | 2020 |  | 0.4168 | 3.3344 | 33.344 |  | 0.46 | 0.906 | 0.50773 | 0.25386 | 0.12693 | 0.66447 |  | 121.7056 |  | 1010 | 4520 | 60.8528 | 271.0928
50 | 4.848 | -2.28 |  | 0 | 1 | 275 | 2200 |  | 0.456 | 3.648 | 36.48 |  | 0.46 | 0.9914 | 0.46399 | 0.232 | 0.116 | 0.62073 |  | 133.152 |  | 1100 | 4880 | 66.576 | 293.9856
51 | 4.848 | -5.32 |  | 0 | 2.5 | 260 | 2080 |  | 0.4299 | 3.4392 | 34.392 |  | 0.46 | 0.9345 | 0.49224 | 0.24612 | 0.12306 | 0.64898 |  | 125.5308 |  | 1040 | 4640 | 62.7654 | 278.7432
52 | 4.848 | -6.08 |  | 0 | 7.3 | 236.875 | 1895 |  | 0.3895 | 3.116 | 31.16 |  | 0.46 | 0.8467 | 0.54329 | 0.27164 | 0.13582 | 0.70003 |  | 113.734 |  | 947.5 | 4270 | 56.867 | 255.1496